## Bact1
Test Report
Client: | Kareeberg Municipality |  |  |  |  | Page 1 of 3
Reference: | 83379
Contact: | Frans Groenewald
Delivered by: | Frans Groenewald
Date delivered | 2011-03-16
Date sampled: | 2011-03-16
Determinand | Sample number: | SANS 241:2006 specifications | Kareeberg Municipaliteit Carnarvon Hospitaal | Kareeberg Municipaliteit Carnarvon Kliniek | Kareeberg Municipaliteit Van Wyksvlei Munisipale Kantoor | Kareeberg Munisipaliteit Vosburg Munisipale Kantoor
| Lab number: |  | U1 | U2 | U3 | U4
| Units | value | Value | Value | Value | Value
Heterotrophic plate count | cfu/ml | 100 | 0 | 0 | >2500 | 58
Total coliforms | cfu/ml | 0 | 0 | 0 | 1 | 109
E.coli | cfu/100ml | 0 | 0 | 0 | 0 | 0
Bacterial note: Parameters higher than specifications are clearly indicated.
Signed: ___________________________ | [5 empty] | Date issued: 17 March 2011
L Cruywagen (Head: Laboratory)
This report relates only to the samples supplied to the Laboratory at the Insitute for Groundwater Studies
Institute for Groundwater Studies
IGS Laboratory Services
University of the Free State
* 339, BLOEMFONTEIN, 9300
( +27-(0)51 - 401 2317
7: +27-(0)51 - 444 6538 e-mail: igslab@ufs.ac.za

## Sewage
Test Report
Client: | Kareeberg Municipality |  |  | Page 3 of 3
Reference: | 83379
Contact: | Frans Groenewald
Delivered by: | Frans Groenewald
Date delivered | 2011-03-16
Date sampled: | 2011-03-16
Determinand | Sample number | Section 39 of the National Water Act of 1998 | Kareeberg Munisipaliteit Maturation pond | Kareeberg Munisipaliteit Anaërobiese Dam
| Lab nr. | General Limit | C1 | C3
| Units | Value | Value | Value
pH |  | 5.5 - 9.5 | 9.35 | 7.86
Electrical conductivity | mS/m | 70 - 150 mS/m above intake | 209 | 136
Ammonia (NH3) as N | mg/L | 6 | 1.068 | 57.466
Chemical Oxygen Demand (COD) | mg/L | 75 | 386 | 297
Nitrate (NO3)/ Nitrite (NO2) as N | mg/L | 15 | <0.5 | <0.5
Ortophosphate (PO4) as P | mg/L | 10 | 0.633 | 1.17
Suspendid Solids(SS) | mg/L | 25 | 116 | 148
Faecal coliforms | cfu/100ml | 1000 | 0 | >2419
E.coli | cfu/100ml |  | 0 | >2419
Signed: ___________________________ |  |  |  | Date issued: 28 March 2011
L Cruywagen
This report relates only to the samples supplied to the Laboratory at the Insitute for Groundwater Studies
Institute for Groundwater Studies
IGS Laboratory Services
University of the Free State
* 339, BLOEMFONTEIN, 9300
( +27-(0)51 - 401 2317
7: +27-(0)51 - 444 6538 e-mail: igslab@ufs.ac.za
Institute for Groundwater Studies
IGS Laboratory Services
University of the Free State
* 339, BLOEMFONTEIN, 9300
( +27-(0)51 - 401 2317
7: +27-(0)51 - 444 6538 e-mail: igslab@ufs.ac.za

## drink
Test report
Client: | Kareeberg Municipality |  |  |  |  | Page 2 of 3
Reference: | 83379
Contact: | Frans Groenewald
Delivered by: | Frans Groenewald
Date delivered | 2011-03-16
Date sampled: | 2011-03-16
Determinand | Sample number: | Carnarvon Hospital | Van Wyksvlei Munisipale Kantore | Vosburg Munisipale Kantore | South African National Standard (SANS) 241:2006 for drinking water
| Lab number: | Carnarvon Hospital | Van Wyksvlei Munisipale Kantore | Vosburg Munisipale Kantore | Class 1 (Recommended levels) | Class 2 (Maximum allowable for limited time)
| Units | Value | Value | Value | Value | Value
Chemical report
pH |  | 8.44 | 6.63 | 7.94 | 5.5 tot 9.5 | <4 en >10
Electrical conductivity | mS/m | 73 | 36.2 | 112 | 150 | 370
Calcium as Ca | mg/L | 37.3845 | 3.4817 | 68.1635 | 150 | 300
Magnesium as Mg | mg/L | 23.455 | 1.4133 | 35.9171 | 70 | 100
Sodium as Na | mg/L | 78.8985 | 68.2965 | 113.3803 | 200 | 400
Potassium as K | mg/L | 1.3513 | 0.75667 | 2.9149 | 50 | 100
P-Alkalinity | mg/L | 9.92 | 0 | 0
M-Alkalinity | mg/L | 308 | 24 | 303
Fluoride as F | mg/L | 0.67 | 0.19 | 0.62 | 1 | 1.5
Chloride as Cl | mg/L | 30 | 94 | 138 | 200 | 600
Bromide as Br | mg/L | 0.55 | 0.14 | 0.58 | **3 | **6
Nitrate as N | mg/L | 2.05 | 0.05 | 2.65 | 10 | 20
Phosphate as PO4 | mg/L | -1 | -0.1 | -1 |  | *15.33
Sulphate as SO4 | mg/L | 37 | 17.9 | 87 | 400 | 600
Calcium Hardness | mg/L | 93.4612 | 8.7044 | 170.4088 | 375 | 750
Magnesium Hardness | mg/L | 96.1653 | 5.7944 | 147.2602 | 287 | 410
Total Hardness as CaCO3 | mg/L | 189.6265 | 14.4987 | 317.669 | 662 | 1160
Total Dissolved Solids | mg/L | 525.3409 | 210.2567 | 778.2635 | 1050 | 2590
Aluminium as Al | mg/L | <0.004 | <0.004 | <0.004 | 0.3 | 0.5
Arsenic as As | mg/L | <0.006 | <0.006 | <0.006 | 0.01 | 0.05
Chromium as Cr | mg/L | <0.006 | <0.006 | <0.006 | 0.1 | 0.5
Copper as Cu | mg/L | 0.02 | 0.01 | 0.004 | 1 | 2
Iron as Fe | mg/L | 0.005 | 0.04 | 0.007 | 0.2 | 2
Manganese as Mn | mg/L | 0.009 | 0.007 | 0.003 | 0.1 | 1
Lead as Pb | mg/L | <0.010 | <0.010 | <0.010 | 0.02 | 0.05 | 5
Zinc as Zn | mg/L | 0.017 | 0.234 | 0.007 | 5 | 10
Chemistry note: According to these results, all of the parameters tested are within the drinking water limits
Bacteriology: The bacteriology results are reflected on other worksheets in this file.
Signed: ___________________________ | [5 empty] | Date issued: 4 March 2011
L Cruywagen
This report relates only to the samples supplied to the Laboratory at the Insitute for Groundwater Studies
From: DWAF Domestic use guidelines
Hardness Range | Description of Hardness
0 - 50 | Soft
50 - 100 | Moderately soft
100 - 150 | Slightly hard
150 - 200 | Moderately hard
200 - 300 | Hard
> 300 | Very hard
Institute for Groundwater Studies
IGS Laboratory Services
University of the Free State
* 339, BLOEMFONTEIN, 9300
( +27-(0)51 - 401 2317
7: +27-(0)51 - 444 6538 e-mail: igslab@ufs.ac.za